FIRE SAFETY POLICY

# 1. Introduction & Aims

It is the overall aim of Hopewell School to minimise the risks to staff and pupils, which may arise from fire. This will be achieved by ensuring precautions are taken to avoid fires occurring and by ensuring that procedures for minimising the effects of an outbreak of fire and evacuating the premises are in place.

# 2. Fire Safety Management

Main duties are:

- To minimise risk from fire through risk assessments

- To ensure adequate staff/ fire manager training has taken place

- To produce an emergency plan and put up fire notices

- To conduct fire drills

- To check adequacy of firefighting apparatus and its maintenance

- To implement recommendations from the Fire Risk Assessment

- To consult with the Fire Risk Assessment officer on matters of fire safety

- To conduct regular fire safety inspections and record the findings

- To make frequent informal checks

- To ensure fire escape routes and fire exit doors are unobstructed and operate correctly.

- To check fire detection and protection systems are maintained and tested and records kept

- To ensure Fire Safety Logbook is kept up to date and accessible

3. Fire Procedures

Notices displaying the fire procedures are displayed in each classroom and at each fire alarm call point.

# Persons Responsible for Fire Safety

| Responsible Person | Headteacher/Deputy-Head Teacher |
| --- | --- |
| Competent person | Safeguarding Lead/ Fire Marshall |
| Fire safety training, induction and revision | Headteacher |
| Fire risk assessments | Headteacher |
| Fire drills | Headteacher |
| Updating of logbook / recording | Safeguarding Lead/ Fire Marshall |
| Checks on call points | Safeguarding Lead/ Fire Marshall |
| Checks on emergency lighting | Safeguarding Lead/ Fire Marshall |
| Fire escapes unobstructed | All members of staff |
| Check all fire detection & protection systems are maintained | Safeguarding Lead/ Fire Marshall |

## 4. Fire Safety Training

Appropriate specific training for the Safeguarding Lead Rani Chahal & Fire Marshall Samantha Dobkin will be undertaken at least every three years.

All staff will have internal training every three years. This will include:

- Understanding the Emergency Plan/fire procedure

- The importance of fire doors

- The significant findings of the Fire Risk Assessment

- Guidance on the use of relevant firefighting equipment e.g. fire extinguishers, fire blankets – to protect escape route

- Reporting to the assembly area

- Exit routes including alternatives

- General matters of fire safety e.g. keeping combustibles away from possible ignition sources

- Assisting visitors and any disabled persons from the building

In addition:

- Practical Fire extinguisher training to be provided every 3 years for all staff.

- All agency or voluntary staff to be given fire procedure information.

- New staff to be taken through the Fire Policy and training schedule as part of Induction.

All records of training and induction are recorded in Fire Safety Logbook, which is located in the school main office.

## 5. Fire Risk Assessment Appraisal

Fire Risk Assessment is carried out annually by the organisations Health & Safety Officer. This is informed by a Fire Risk Assessment and audit visit carried out by the Fire Risk Assessment.

All issues that present a fire risk must be transferred to an Action Plan, to be actioned as per the priority rating. Where this is not possible a mitigating statement should be written into the assessment as per Health & Safety procedures.

## 6. Evacuation Drills

The procedure for emergency evacuation (see Appendix 1) is displayed in each classroom and by each fire alarm call point. The main alarm panel is situated in the main entrance of Harmony House by the front door. Fire drills are executed by the Headteacher, via this panel or from call points around the school.

Fire evacuation drills should be carried out at least on the 3rd Wednesday of each half term at 10:30a.m. Where required they may be undertaken more frequently, particularly if there are new staff or pupils often to capture all persons that regularly use the building to ensure they are familiar with the procedures. Some fire drills are unplanned (false alarms) whilst others are planned with staff being given notice ensuring all staff are aware of the procedures.

7. Staff Roles & Responsibilities in the Event of an Evacuation Alarm

The first priority of all staff is to ensure that all pupils and staff leave the building safely.

| Action | Person responsible | In case of absence |
| --- | --- | --- |
| Evacuation of all staff and pupils | Headteacher | Deputy-Head or most senior person in Primary/Secondary |
| Collection of registers and staff/ visitor signing in book/ sheets | Secretary | Headteacher |
| Calling the Fire Service | Headteacher | Deputy-Head/Secretary |
| Meeting the Fire Service | Headteacher | Deputy-Head |

In general, all staff and pupils will assemble at the assembly point, unless the source of the fire makes this impossible. Teachers will immediately do a head count and call the register.  Absentees will immediately be reported to the Headteacher/Deputy-Head.

## 8. Fire Doors & Exits

The final fire exit doors open outwards and have been fitted with immediate release locks so that in the event of a fire alarm the final exit doors will automatically open and require no key or even the door handle to be operated to exit the building. All doors should be closed after the last person has exited. This will prevent fire spreading and so minimise damage. All fire exit routes are signed clearly with directional arrows. Internal Fire doors must not be routinely held open. Where doors are held open, they have been fitted with door closers that automatically close the door in the event of a fire alarm. On NO OCCASION must a Fire Door ever be locked or propped open while the school is occupied.  Locking Fire Doors or otherwise blocking exit routes is a serious disciplinary matter.

## 9. Follow-up to Evacuation Drills

Drills must be recorded in the Fire Safety Logbook located in the office. Timing of each evacuation must be recorded accurately (guidelines state 2½ minutes per storey of a normal risk building). Everyone will receive immediate feedback on the success of the evacuation at their assembly point.

As part of Health & Safety monitoring, the Safeguarding Lead and Fire Marshall will periodically check the Fire Safety Logbook and the evacuation schedule.

## 10. Maintenance of Fire Doors, Fire Exit Doors, Fire Equipment & Systems

Fire extinguishers, fire alarm systems and emergency lighting are maintained by professional consultants.  Staff will also carry out the routine tests on the systems and precautions as detailed below (Frequency of testing).

## 11. Frequency of Testing

| System | Frequency | Method of test |
| --- | --- | --- |
| Fire alarm | Weekly (By Harmony House) | Visual check of panel for fault indications |
| Fire alarm | Weekly (By Harmony House) | Test key operation of different call points each week in rotation |
| Fire alarm | At least 6-monthly (By Harmony House) | Servicing/ Battery test |
| All external and internal doors | Daily | Confirmation that doors open or close as required and that they aren’t obstructed |
| Emergency lighting – Function test | Monthly (By Harmony House) | Momentary operation of test switch or circuit breaker. |
| Emergency lighting – discharge test | Annual (By Harmony House) | Switched on and left for at least the duration of the battery e.g. an hour or 3 hours. |
| Fire extinguishers, fire blankets | Weekly | Check that seals are intact, equipment has not been removed or tampered |
| Fire extinguishers | Annually (5-yearly) | Service (extended service) |

Records for these tests are kept in the Fire Safety Logbook located in the office.

## 11. Disabled Pupils/Members of Staff

All persons that require assistance to evacuate the building should have a written Personal Emergency Evacuation Plan (PEEP). Staff should be aware that they must endeavour to evacuate them in the event of an emergency (without putting themselves at risk), and not wholly rely on the fire and rescue service.

A Generic Emergency Evacuation Plan, (GEEP) may also be written based on foreseeable evacuation issues for people present that are unfamiliar with the building. The evacuation of special needs persons is included in the site emergency plan.

## 12. Policy Review

This policy was completed in June 2025. Next reviewed is due in December 2025.

APPENDIX I – FIRE SAFETY NOTICE

# IN CASE OF FIRE

The member of staff discovering the fire should:

- Sound the Alarm using nearest Fire Alarm call point

If the Fire Alarm sounds:

Staff will ensure everyone:

- Proceeds quietly to the nearest exit

- Leaves their personal belongings

- Walks sensibly out of the building closing doors behind them

- Does not re-enter the building until told it is safe

Staff will ensure they:

- Take a register of all pupils, staff and visitors is taken (if pupil, staff member or visitor cannot be accounted for the Responsible Person must be told immediately) • Call the Fire Service if required

# THE FIRE ASSEMBLY POINT IS IN THE CAR PARK

Competent Person Carrying Out Review: